## Slide 1: Python Standard Testing Application
Marc Eitner, Palash Jain, and Chloe Johnson
ME 369
Dr. Mitchell Pryor
PySTA

## Slide 2: Outline
Overall Objective
Goal of Project
Demonstration
Code Development
  Signal Reading
  GUI
  Animation
Future Work

## Slide 3: Overall Objective
Replicate an instrument interface such as LabVIEW using Python and a Raspberry Pi, making data collection for small experiments portable, affordable, and user-friendly.
LabVIEW can be large and expensive
  Software: $400 - $5000 /year
  Data Acquisition: > $200
PySTA
  Python: FREE
  Data Acquisition:
    Raspberry Pi:
    Analog to Digital Converters: $2.50

## Slide 4: Goal of Project
y(t)
a(t)
Raspberry Pi
GUI in PyQT
Store Data
Live Voltage Outputs
Beam Animation

## Slide 5: Demonstration

## Slide 6: Experimental Setup
Accelerometer
Laser Displacement Sensor
Raspberry Pi
Cantilever Beam
Analog-Digital-Converter
Sensor connection ports

## Slide 7: Code Development: Signal Reading
Raspberry Pi:

## Slide 8: Code Development: Signal Reading 1
Main library used: Adafruit_MCP3008 and SPI.SpiDev
Interface between Analog-Digital-Converter (MCP3008) and Raspberry Pi
Create an object:
mcp = Adafruit_MCP3008.MCP3008(spi=SPI.SpiDev(SPI_PORT,SPI_DEVICE))
And this is how you read data:
for i in range(0,8): # loop over all channels
values[i] = mcp.read_adc(i)*3.3/1024 # convert to Volts

## Slide 9: Code Development: Signal Reading 2
Class Measurement():
def __init__(self, fs=100):
self.time = []
self.data = []
self.fs = fs
def setData(self, values)
def setTime(self, t0)
def getData(self)
def filterData(self, filter_options)

## Slide 10: Code Development: GUI
Screenshot of GUI: Channel Select Tab

## Slide 11: Code Development: GUI
Screenshot of GUI: Graph Tab

## Slide 12: Code Development: GUI
Screenshot of GUI: Animation Tab

## Slide 13: Code Development: GUI
Packages: Pyqt

## Slide 14: Code Development: Animation

## Slide 15: Code Development: Animation

## Slide 16: Code Development: Animation

## Slide 17: Code Development: Animation
Simulated Voltage Outputs:
Simulated Beam Displacement Animation:

## Slide 18: Code Development: Animation
Simulated Voltage Outputs:
Simulated Beam Displacement Animation:

## Slide 19: Future Work
Saving data to file in the GUI
Interfacing setup with hydraulic servos

## Slide 20
Questions or Comments?